Draft Final Fact Sheet: Next Generation Wildfire Risk Forecast Models for California’s Grid Resilience

PREPARED BY: Shane Romsos, Spatial Informatics Group, LLC

David Saah, Ph.D.

Principal Investigator

Spatial Informatics Group, LLC

Shane Romsos

Project Manager

Spatial Informatics Group

David Stoms, Ph.D.

Contract Agreement Manager

California Energy Commission

Agreement Number:  EPC-18-026

Title: Next Generation Near- and Long-term Wildfire Risk Forecast Models for Enhanced Electricity Grid Resiliency and Public Safety (Pyregence)

Funded by: California Energy Commission (CEC) under contract EPC-18-026, and match contributions from the project participants.

Affiliated Organizations: Spatial Informatics Group, California Energy Commission, various universities (UC Merced, UC Berkeley, University of New Mexico, University of San Francisco), private (Reax Engineering, Salo Sciences, Lumen Energy Strategy, Pyrologix, Eagle Rock Analytics, Sonoma Technology, Deer Creek Resources, and public (US Forest Service, US Geological Survey, National Center for Atmospheric Research) sector partners, with expertise in fire science and modeling.

Project Goal: To advance wildfire science and develop next-generation wildfire models for improved grid resilience in California. Project objectives included:

- Enhance Wildfire Science: Improve understanding of wildfire behavior, especially under extreme weather conditions.

- Develop Next-Generation Models: Create models to forecast wildfire risk at multiple scales.

- Knowledge Transfer: Integrate new models into utility management and grid planning.

Workgroups & Key Results

Extreme Weather & Fire Analysis

- Developed optimized placement models for weather stations to improve data collection for wildfire risks.

- Applied the CAWFE model for high-accuracy simulations of wildfire and atmospheric interactions.

- Executed an upper-air wind profiler pilot test to predict high-wind events for Public Safety Power Shutoff (PSPS) decisions.

Tree Mortality, Fuels & Fire Physics

- Conducted lab and field experiments on wildfire fuel sources, focusing on deadwood and tree mortality mapping.

- Developed new mapping and fuel measurement systems to assess fire behavior impacts in areas with elevated tree mortality.

Near-term Wildfire Forecasting

- Created PyreCast, a web-based platform for real-time wildfire spread forecasting, supporting utility planning.

- PyreCast tools included fire spread, risk, and weather forecasting, which improve situational awareness.

Long-term Fire Projections

- Developed advanced models integrating climate, fire, and vegetation data to project long-term fire risks.

- Utilized machine learning models to assess factors influencing future fire occurrence and intensity across California.

Notable Tools and Contributions

- PyreCast Platform: Open-source decision-support platform providing near-term weather, wildfire spread and risk forecasts.

- Weather Station Optimization: MaxEnt modeling identified optimal weather station placements for real-time fire behavior data.

- Long-term Wildfire hazard forecast datasets: Demonstrated the value of aloft wind measurements for improved fire-weather forecasting.

Benefits to Ratepayers

- Cost Savings: Improved accuracy in wildfire risk forecasting reduces grid damage and mitigates high-cost utility shutoffs.

- Enhanced Reliability: Reduces unnecessary outages, ensuring safe, cost-effective electricity supply.

- Increased Safety: Advanced situational awareness improves safety measures during wildfire events.

Next Steps

- Continued model refinement, geographic expansion of forecasting tools to cover additional states and potentially Canada.

- Enhance model accuracy with updated fuel model data, refined algorithms (e.g., AI-based models), and improved real-time fire suppression integration.

- Continue to work with electric utilities to adopt data and tools developed as part of the project.